BD(M)G系列防爆照明（动力）配电箱(ⅡB,ⅡC)

适用范围 Application ■1区、2区危险场所。 ■ⅡA、ⅡB、IIC类爆炸性气体环境。 ◆Can be used in Zone 1 and Zone 2 dangerous places. ◆Can be used in IIA、IIB、IIC group explosive atmosphere. 产品特点 Featrues ■本产品复合型结构,开关箱采用隔爆型结构,母线箱及出线 ◆ This product is of combined structure,switch box adopts The structrue 箱采用增安型结构. of flame-proof,busbar and outlet compartment are of safety increased type. ■铸铝合金外壳,内装高分析断小型断路器,具有过载短路保 ◆ MCB with high breaking capacity is mounted inside the diedcastedAI-alloy shell 护功能并可根据要求增加漏电保护等功能. Which has the function of protecting of electrical leakage is available as required. ■采用模块结构,各种回路可以自由选择组合. ◆ Moulded structure,free combination for each circuit. ■有特殊要求可特制. ◆ Can be made specially to special requirement. ■钢管或电缆布线均可. ◆ Suitable for both steelpipe and cable wiring. ■符合GB3836-2000,IEC60079标准要求. ◆ Suitable for GB3836-2000,IEC60079 standard request. 主要技术参数 Main te chnical parameters 外形及安装举例 Outline and mounting example